## Slide 1: The SlIT Lamp
(You Don’t Know What You’re Missing…)

## Slide 3: Turn Machine On

## Slide 4: Adjust EyePieces
If Wearing Glasses = 0

## Slide 5: Raise the Table

## Slide 6: Forehead on The headband
Allows you to focus
Black Mark even with patient’ s eyes
Metal adjuster

## Slide 7: Aim Light by moving the base or Joy Stick

## Slide 8: Beam Adjustment
Height and width
At max height, will turn cobalt blue for fluorescein exam
Teal green is not blue
Magnification, start at 10
Intensity dial

## Slide 9: Lids Lashes Lacrima

## Slide 10: Conjunctiva/Sclera

## Slide 11: Cornea

## Slide 12: Anterior Chamber

## Slide 13: Iris/Lens

## Slide 14: Fluorescein Exam

## Slide 15: Review
Power
Adjust Eyepieces
Patient Height
Forehead Touching
Adjust Chin
Move light to focus with base and joystick
Change Focus
Cobalt Blue

## Slide 16: Foreign Body

## Slide 18: Slit Lamp stabilizes head for foreign body removal

## Slide 19: Globe Rupture (with dye, Positive Seidels sign)

## Slide 20: HSV

## Slide 21: Corneal Abrasion

## Slide 22: Iritis (white Arrows) Uveitis (Black Arrows)